SV experiment. Sample in TK100 (no EDTA) Running speed: 50k   Running temp: 200c  Use XLA-1

Sample preparation:

Use RNAse, split sample into two, one as control, the other was added with equal amount of 7M GuHCl (final concentration is 3.5M GuHCl). Let samples stand at room temperature overnight. Dialyzed samples separately against TK100 buffer.  In the final dialysis, kept both samples in the same dialyzed buffer overnight.

RESULT: data from 0829/160206,xla1

| Sample | Scan chosen | S20,w |
| --- | --- | --- |
| Control: native RNAseA | 10-29 | 1.929 |
|  | 15-34 | 1.949 |
|  | 20-39 | 2.033 |
| Denatured-renatured RNAseA | 10-29 | 1.951 |
|  | 15-34 | 1.914 |
|  | 20-39 | 1.932 |

Data analysis:

| Scan chosen | Control: native RNaseA | Denatured-renatured RNAseA | (S | Difference (minimized) |
| --- | --- | --- | --- | --- |
| 10-29 | 1.929 | 1.951 | 0.022 | 1.1% |
| 15-34 | 1.949 | 1.914 | 0.035 | 1.8% |
| 20-39 | 2.033 | 1.932 | 0.101 | 5.0% |

|  | Control: native RNAseA | Denatured-renatured RNAseA |
| --- | --- | --- |
| (S difference due to scan chosen (maximized) | 0.104 S 5.4 % | 0.037S 1.9 % |

Using the following criteria:

Maximized (magnified) (S difference due to scan chosen (use a smaller number for denominator when converted to %). Minimized (play down) the (S difference between control and the sample (use a larger number for denominator when converted to %). The conformational change, due to denaturation and then re-naturation of the protein, without reducing agent presence, is not affected. This suggests that the process is reversible. (Same conclusion if we omit scan 20-39)

5.0%~ 5.4%.