SV experiment. Sample in TK100 (no EDTA) Running speed: 50k  Running temp: 200c. Use XLA-1

Experiments were run side by side with the same instrument.

RESULT: data from  082902/160206,ra1,ra3, xla1

| Sample | Scan chosen | S20,w |
| --- | --- | --- |
| Control: native RNAseA | 10-29 | 1.929 |
|  | 15-34 | 1.949 |
|  | 20-39 | 2.033 |
| Native RNAseA, old, left in RT for a few days | 10-29 | 2.120 |
|  | 15-34 | 2.084 |
|  | 20-39 | 2.001 |

Data analysis:

| Scan chosen | Control: native RNAseA | Native RNAseA, old, left in RT for a few days | (S | Difference (minimized) |
| --- | --- | --- | --- | --- |
| 10-29 | 1.929 | 2.120 | 0.191 | 9.0% |
| 15-34 | 1.949 | 2.084 | 0.135 | 6.5% |
| 20-39 | 2.033 | 2.001 | 0.032 | 1.6% |

|  | Control: native RNAse | Native RNAseA, left in RT for a few days |
| --- | --- | --- |
| (S difference due to scan chosen (maximized) | 0.104 S 5.4 % | 0.119 S 5.9 % |

Using these criteria:

Maximized (magnified) (S difference due to scan chosen (use a smaller number for denominator when coverted to %). Minimized (play down) the (S difference between control and the sample (use a larger number for denominator when converted to %). I conclude that there is conformational change due to exposing the sample at the room temperature for a couple days.

9.0%> 5.9%