SV experiment. Buffer: Speed:30k  Temp:4c,   Xla 2

Fresh sample for SV

Summary of SV experiment:

| Peak | S4,w | S20,w |
| --- | --- | --- |
| 1 | 3.25 | 4.98 |
| 2 | 5.5 | 8.43 |
| 3 | 8.4 | 12.2 |
| 4 | 12.5 | 19.64 |

Using SEDNTERP for temperature conversion.